## Slide 1: Lecture 17: MRI System and Applications
Dr. Guohua Cao （曹国华） caogh@shanghaitech.edu.cn
School of Biomedical Engineering
ShanghaiTech University
5/22/2024

## Slide 2: RF pulse and Gradient pulses

## Slide 3
phase
frequency

## Slide 6
EPI

## Slide 7: MRI Scanner
MRI hardware:
  Superconducting magnet
  3 magnetic field gradient coils
  Radiofrequency transmitter and receiver

## Slide 8: Superconducting Magnet
Superconducting wire has a resistance approximately equal to zero when it is cooled to a temperature close to absolute zero .
The length of superconducting wire in the magnet is typically several miles.
The coil of wire is kept at a temperature of 4.2K by immersing it in liquid helium. The coil and liquid helium is kept in a large dewar. The typical volume of liquid Helium in an MRI magnet is 1700 liters.
There is usually a refrigerator outside the magnet with cooling lines going to a cold head in the liquid helium.

## Slide 9: Another advance in magnet technology is active shielding of the magnet. The shielding is achieved by a second set of superconducting windings, outside of the main ones and with opposite current. - smaller fringe field - important for safety reasons , and makes it easier to site a magnet.

## Slide 10: Gradient Coils
The gradient coils produce the gradients in the Bo magnetic field.
A gradient in Bo in the Z direction is achieved with an anti-Helmholtz type of coil. Current in the two coils flow in opposite directions creating a magnetic field gradient between the two coils. The B field at one coil adds to the Bo field while the B field at the center of the other coil subtracts from the Bo field.

## Slide 11: Gradient Coils

## Slide 12: RF Coils
Phased-array

## Slide 14: MRI Safety
Gradient switches produce Lorentz forces causing vibrations in the gradient coils and their supports. These vibrations are the main source of the characteristic MRI noise.

## Slide 15: Types of MRI Applications
Structural Imaging (magnetic property)
‐ Proton, T1w, T2w, …
Angiography (vessel imaging)
‐ time‐of‐flight, phase contrast, w/ contrast
Diffusion imaging
Perfusion imaging
‐ DSC, DCE, ASL
Functional MRI (BOLD)
Spectroscopy

## Slide 16: References
Bushberg et al.
Bernstein et al.
Buxton
Huettel et al.

## Slide 17
Magnetic Characteristics of Tissues
Buxton, Figure 7.3

## Slide 18: MR Angiography (MRA)

## Slide 19: Time‐of‐Flight
Bernstein et al. Figure 15.17

## Slide 20: Time‐of‐Flight
Bernstein et al. Figure 15.19
Example: https://www.youtube.com/watch?v=SjTSx5R554o

## Slide 21: Steady‐State Free Precession

## Slide 22: Contrast Enhanced MRA
https://www.youtube
.com/watch?v=0A3et EFuP5E
knee_lcssfp.avi
Bernstein et al. Figure 15.24

## Slide 23: Diffusion Imaging

## Slide 24: Fiber tracking
corpus callosum
optic radiations
Cortico-spinal tracts

## Slide 25: Perfusion MRI

## Slide 26: Arterial spin labeling (ASL)
Arterial spin labeling (ASL) is a non-invasive MRI technique to measure cerebral blood flow (CBF).
The goal of ASL MRI perfusion is to produce a “flow labeled image or tag image” and a “control image” in which the static tissue signals are identical, but the magnetization of the inflowing blood is different. In this technique, arterial blood water is magnetically tagged before it enters the tissue of interest.

## Slide 27: Pulsed ASL
Imaging
TI2
RF
Time 0
PICORE, FAIR, or EPISTAR
~10 cm
TI2-TI1 TI2
M0
t
Control Tag
‐M0
SIantvuerrastioionn
with QUIPPS II or Q2TIPS
180° 90°
TI1
~0.6s

## Slide 28: Continuous ASL
Imaging
TI
0
RF
Time
CASL
t: 1.6sec TI: 2.6sec
SNR efficiency≈ x2
Additional RF system or
AM method (69% tagging efficiency)
Control
I
TI- T
M0
Tag
‐M0

~1.6s
TI2t -TI1 TI2
M0
t
‐M0
PASL
TI1: 0.6sec TI2: 1.6sec
Flow driven adiabatic inversion

## Slide 29: Arterial Spin Labeling
Control
Label
-
=
Perfusion weighted
Cerebral Blood Flow
Quantifi cation

## Slide 30: Functional MRI (fMRI)

## Slide 31: Blood oxygenation level dependent (BOLD) imaging - standard functional MRI (fMRI)
Huettel, et al., Figure 11.3

## Slide 32: BOLD (Blood Oxygen Level Dependent) contrast
Huettel, et al. Figure 7.5 &7.16

## Slide 33: MR Spectroscopy (MRS)

## Slide 34: MR Spectroscopy

## Slide 35: MRS Metabolites

## Slide 36: Review on MRI Imaging
What determines the precession frequency of resonance?
  gyromagnetic ratio
  field strength
How do we detect a signal?
  an applied rf-pulse can tip the bulk magnetization
  can detect changing magnetization in transverse plane
What happens to the MR signal in the transverse plane?
  it precesses to generate a signal
  signal decays with 2 relaxation rates, T1 and T2
How is the NMR signal spatially encoded?
  with magnetic field gradients
  (e.g. slice select, phase encode, and frequency encode)