## Slide 1
Single Particle cryo-EM Reconstruction
Li Minzhang
Notes: 大家好，我给大家介绍xxxxx

## Slide 2
Recall
reference: Cryo-EM Imaging Basics,张晓骁
Notes: 上周张晓晓老师介绍了cryo-EM的基础问题和背景。他的PPT里讲到，cryoEM可以做XXX，XXX，XX。三个方向有异同，今天我会讲SPA，周三盈君会讲Tomography，马老师也许会讲材料相关的内容。

## Slide 3
3D Reconstruction Problem Setting
Given a collection of observations from N calibrated views, . We want to reconstruct the target volume .
In Cryo-EM SPA,
- acquisition itself is complicated. Low SNR.
- Projection rather than volume rendering.
Views are unposed.
Heterogeneity. (The target volume is intrinsically dynamic & structural variability)

## Slide 4
3D Reconstruction Problem Setting
In Cryo-EM SPA,
- acquisition itself is complicated. Low SNR.
- Projection rather than volume rendering.
Views are unposed.
Heterogeneity. (The target volume is intrinsically dynamic & structural variability)
Imagine NeRF reconstructing a dynamic object with completely unposed views of extremely low SNR.

## Slide 5
From movie frames to micrograph
  Problem 1: Beam-induced motion. Solution: Motion correction.
  Problem 2: Radiation damage. Solution: Dose weighting.
Preprocessing for .
2. CTF estimation
  Problem 3: Imperfect Imaging transfer. Solution: CTF.
  Problem 4: Zero-crossings. Solution: Defocus range.
3. Particle Picking: Get mixed collections of different views
4. 2D/3D classification
  Problem 5: Unknown Orientation. Solution: Cross-Correlation/EM

## Slide 6
Workflow
Notes: 这是SPA的工作流。今天我的重心会放在最重建的部分XXXX。首先请大家看一个视频，以了解前面预处理的步骤。

## Slide 7
From movie frames to micrograph
Problem: Beam-induced motion
https://cryoem101.org/chapter-5/

## Slide 8
From movie frames to micrograph
For an exposure series, the direct detectors of high fps allows cryo-EM data to be recorded in the form of movies.
Factors:
FPS.
Dose.
Carbon support and ice.

## Slide 10
From Movies to micrograph
Left: Before motion correction
Right: After motion correction
Notes: 上周张晓晓老师介绍了cryo-EM的基础问题和背景。他的PPT里讲到，cryoEM可以做XXX，XXX，XX。三个方向有异同，今天我会讲SPA，周三盈君会讲Tomography，马老师也许会讲材料相关的内容。

## Slide 12
Dose Weighting (exposure filtering)
Problem: Radiation Damage
Early frames have accurate info but low contrast, late frames have good contrast but less info.
Notes: 上周张晓晓老师介绍了cryo-EM的基础问题和背景。他的PPT里讲到，cryoEM可以做XXX，XXX，XX。三个方向有异同，今天我会讲SPA，周三盈君会讲Tomography，马老师也许会讲材料相关的内容。

## Slide 13
Workflow
reference: Cryo-EM Imaging Basics,张晓骁
Workflow
Notes: 首先我们recall一下，SPA的工作流。

## Slide 14
From movie frames to micrograph
  Problem 1: Beam-induced motion. Solution: Motion correction.
  Problem 2: Radiation damage. Solution: Dose weighting.
Preprocessing for .
2. CTF estimation
  Problem 3: Imperfect Imaging transfer. Solution: CTF.
  Problem 4: Zero-crossings. Solution: Defocus range.
3. Particle Picking: Get mixed collections of different views
4. 2D/3D classification
  Problem 5: Unknown Orientation. Solution: Cross-Correlation/EM

## Slide 15
reference: Cryo-EM Imaging Basics,张晓骁
CTF estimation

## Slide 16
reference: Cryo-EM Imaging Basics,张晓骁
CTF estimation – zero-crossings

## Slide 17
From movie frames to micrograph
  Problem 1: Beam-induced motion. Solution: Motion correction.
  Problem 2: Radiation damage. Solution: Dose weighting.
Preprocessing for .
2. CTF estimation
  Problem 3: Imperfect Imaging transfer. Solution: CTF.
  Problem 4: Zero-crossings. Solution: Defocus range.
3. Particle Picking: Get mixed collections of different views
4. 2D/3D classification
  Problem 5: Unknown Orientation. Solution: Cross-Correlation/EM

## Slide 18
Particle Picking
reference: Cryo-EM Imaging Basics,张晓骁

## Slide 19
reference: Cryo-EM Imaging Basics,张晓骁
Particle Picking

## Slide 20
2D Classification
reference: Cryo-EM Imaging Basics,张晓骁

## Slide 21
3D Reconstruction Problem Setting
In Cryo-EM SPA,
- acquisition itself is complicated. Low SNR.
- Projection rather than volume rendering.
Views are unposed.
Heterogeneity. (The target volume is intrinsically dynamic & structural variability)
Imagine NeRF reconstructing a dynamic object with completely unposed views of extremely low SNR.

## Slide 22
Workflow
Notes: 这是SPA的工作流。今天我的重心会放在最重建的部分XXXX。首先请大家看一个视频，以了解前面预处理的步骤。

## Slide 23
Core problem: 3D Reconstruction

## Slide 24
Core problem: 3D Reconstruction
In Cryo-EM SPA,
- acquisition itself is complicated.
Views are unposed.
Projection rather than volume rendering.
Heterogeneity. (The target volume is intrinsically dynamic & structural variability)

## Slide 25
Image Forward Model
is volume of electron density.
, rotation in 3D space. is translation.
noise ~ some distribution.
is point spread function.

## Slide 26
Fourier Slice Theorem
The Fourier transform of a 1D projection of V is a 1D slice through the origin of V​ in the Fourier domain, where the slice is perpendicular to the projection direction.

## Slide 27
Proof of Fourier Slice Theorem

## Slide 28
Proof of Fourier Slice Theorem

## Slide 29
Problem of Applying FST
reference: Cryo-EM Imaging Basics,张晓骁
Problem :
- Uneven frequency
Missing-wedges
Not directly suitable for FFT

## Slide 30
Filtered BP

## Slide 31
Filtered BP

## Slide 32
Filtered BP

## Slide 33
Formation Model in Fourier Domain
is volume of electron density.
, rotation & slice in 3D space. phase shift.
- ~ Gaussion.
is contrast transfer function.

## Slide 34
Core problem: 3D Reconstruction
In Cryo-EM SPA,
- acquisition itself is complicated.
Views are unposed.
Projection rather than volume rendering .
Heterogeneity. (The target volume is intrinsically dynamic & structural variability)

## Slide 35
In Cryo-EM SPA,
- acquisition itself is complicated.
Views are unposed but with an initial model.
Projection rather than volume rendering.
Heterogeneity. (The target volume is intrinsically dynamic & structural variability)
Core problem: 3D Reconstruction
Given a good initial model,
we may apply Expectation-maximization approach

## Slide 36
Core problem: 3D Reconstruction
In Cryo-EM SPA,
- acquisition itself is complicated.
Views are unposed but with an initial model.
Projection rather than volume rendering.
Heterogeneity. (The target volume is intrinsically dynamic & structural variability)
Can we have Bayesian view of the image formation model
in Fourier Domain?

## Slide 37
Bayesian view: image formation
is volume of electron density.
, rotation & slice in 3D space. phase shift.
- ~ Gaussion.
is contrast transfer function.

## Slide 38
Bayesian view: object function & MAP
What about heterogeneity?

## Slide 39
Core problem: 3D Reconstruction
In Cryo-EM SPA,
- acquisition itself is complicated.
Views are unposed.
Projection rather than volume rendering .
Heterogeneity. (The target volume is intrinsically dynamic & structural variability)

## Slide 40
Bayesian view: object function & MAP

## Slide 41
Stochastic Gradient Method for EM

## Slide 42
Stochastic Gradient Method for EM

## Slide 43
What about pose? Inference over SO(3) .
Pose Search

## Slide 44
Pose Search

## Slide 46
In Cryo-EM SPA,
- acquisition itself is complicated.
Views are unposed but with an initial model.
Projection rather than volume rendering.
Heterogeneity. (The target volume is intrinsically dynamic & structural variability)
Core problem: 3D Reconstruction
Given a good initial model,
we may apply Expectation-maximization approach

## Slide 47
What can be improved?
In Cryo-EM SPA,
- acquisition itself is complicated.
Views are unposed but with an initial model.
Projection rather than volume rendering.
Heterogeneity. (The target volume is intrinsically dynamic & structural variability)
Given a good initial model,
we may apply Expectation-maximization approach
How to get ab initio model?

## Slide 48
1. Highly nonconvex. Need good initialization.
What can be improved?
2. Heterogeneity is not continuous here & needs prior knowledge from expert to select K templates.

## Slide 49
CryoSPARC-3DFlex
2. Heterogeneity is not continuous here & needs prior knowledge from expert to select K templates.

## Slide 50
CryoDRGN

## Slide 51
Promising Area:
Cryo-EM + CV/CG/CP + DL